## Header
GUNNEDAH SALEYARDS MONITORING DATA (Environment Protection Licence 11561)
| Licensee Name: | Gunnedah Shire Council |  | Data Period / Year: | 2016/17
| Licensee Address: | PO Box 63, Gunnedah NSW 2340
| Facility Address: | Kamilaroi Highway, Gunnedah NSW 2380 |  | Data Publishing Date:
To retrieve the full licence from the EPA website, click this link.
| Locations of Monitoring Points: |  | CLICK TO VIEW MAP
Monitoring Point Data:
EPA 1
EPA 2
EPA 3
EPA 4
EPA 5
EPA 6
EPA 7
DISCHARGES
CORRECTIONS to previously published DATA (if applicable):
Corrections Log
Please contact Council's Saleyards Manager if you require any additional information relating to published monitoring data: Phone: (02) 6740 2100 Email: council@infogunnedah.com.au Mail: PO Box 63, GUNNEDAH NSW, 2380

## Monitor Point Map
EPA Licence L11561 - Map showing Monitoring Locations (Condition P1.3) | Back to Index

## EPA 1
EPA Licence L11561 - EPA Monitoring Point 1 | [5 empty] | Data Period / Year: | 2019/20
|  |  | Date Sampled | 2019-07-19 | 2019-10-30 | 2020-01-22 | 2020-03-10
|  |  | Time Sampled | am | am | am | am
|  |  | Sampled By | doc | doc | doc | doc | EPA ANNUAL RETURN ONLY
|  |  | Sample Number |  |  |  |  | (Not published to Web)
Pollutant | Units | Sampling frequency required by the Licence | Type / Method of Sampling | QTR 1 | QTR 2 | QTR 3 | QTR 4 | MIN | AVERAGE | MAX
BOD | mg/L | Quarterly | Representative | dry | dry | dry | 40 | 40 | 40 | 40
Conductivity | µS/cm | Quarterly | Representative | dry | dry | dry | 3.08 | 3.08 | 3.08 | 3.08
Faecal Coliforms | CFU / 100ml | Quarterly | Representative | dry | dry | dry | 160000 | 160000 | 160000 | 160000
Nitrogen (Total) | mg/L | Quarterly | Representative | dry | dry | dry | 44 | 44 | 44 | 44
Phosphorus (Total) | mg/L | Quarterly | Representative | dry | dry | dry | 20 | 20 | 20 | 20
Total Suspended Solids | mg/L | Quarterly | Representative | dry | dry | dry | 44 | 44 | 44 | 44
pH | pH units | Quarterly | Representative | dry | dry | dry | 8.1 | 8.1 | 8.1 | 8.1
| Data Publishing Date: | 2019-04-30 |  |  | Back to Index

## EPA 2
EPA Licence L11561 - EPA Monitoring Point 2 |  |  |  | Data Period / Year: | 2019/20
|  |  | Date Sampled | 2019-10-30 | 2020-03-10
|  |  | Time Sampled | am | am
|  |  | Sampled By | doc | doc | EPA ANNUAL RETURN ONLY
|  |  | Sample Number |  |  | (Not published to Web)
Pollutant | Units | Sampling frequency required by the Licence | Type / Method of Sampling | SAMPLING ROUND 1 | SAMPLING ROUND 2 | MIN | AVERAGE | MAX
BOD | mg/L | Every 6 months | Representative | dry | 51 | 51 | 51 | 51
Conductivity | µS/cm | Every 6 months | Representative | dry | 3.04 | 3.04 | 3.04 | 3.04
Nitrogen (Total) | mg/L | Every 6 months | Representative | dry | 56.6 | 56.6 | 56.6 | 56.6
Phosphorus (Total) | mg/L | Every 6 months | Representative | dry | 18.03 | 18.03 | 18.03 | 18.03
Total Dissolved Solids | mg/L | Every 6 months | Representative | dry | 2384 | 2384 | 2384 | 2384
Total Suspended Solids | mg/L | Every 6 months | Representative | dry | 77 | 77 | 77 | 77
| Date Publishing Date: | 2019-04-30 |  | Back to Index

## EPA 3
EPA Licence L11561 - EPA Monitoring Point 3 |  |  |  | Data Period / Year: | 2019/20
|  |  | Date Sampled | 2019-10-30 | 2020-03-10
|  |  | Time Sampled | am | am
|  |  | Sampled By | doc | doc | EPA ANNUAL RETURN ONLY
|  |  | Sample Number |  |  | (Not published to Web)
Pollutant | Units | Sampling frequency required by the Licence | Type / Method of Sampling | SAMPLING ROUND 1 | SAMPLING ROUND 2 | MIN | AVERAGE | MAX
BOD | mg/L | Every 6 months | Representative | >104 | 36 | 36 | 36 | 36
Conductivity | µS/cm | Every 6 months | Representative | 3.23 | 2.24 | 2.24 | 2.735 | 3.23
Nitrogen (Total) | mg/L | Every 6 months | Representative | 135 | 50.7 | 50.7 | 92.85 | 135
Phosphorus (Total) | mg/L | Every 6 months | Representative | 39.61 | 15.43 | 15.43 | 27.52 | 39.61
Total Dissolved Solids | mg/L | Every 6 months | Representative | 1952 | 1716 | 1716 | 1834 | 1952
Total Suspended Solids | mg/L | Every 6 months | Representative | 184 | 158 | 158 | 171 | 184
| Date Publishing Date: | 2019-04-30 |  | Back to Index

## EPA 4
EPA Licence L11561 - EPA Monitoring Point 4 |  |  |  | Data Period / Year: | 2019/20
|  |  | Date Sampled | REMOVED | REMOVED
|  |  | Time Sampled | REMOVED | REMOVED
|  |  | Sampled By | REMOVED | REMOVED | EPA ANNUAL RETURN ONLY
|  |  | Sample Number | REMOVED | REMOVED | (Not published to Web)
Pollutant | Units | Sampling frequency required by the Licence | Type / Method of Sampling | REMOVED | REMOVED | MIN | AVERAGE | MAX
BOD | mg/L | Every 6 months | Representative | REMOVED | REMOVED | 0 | #DIV/0! | 0
Conductivity | µS/cm | Every 6 months | Representative | REMOVED | REMOVED | 0 | #DIV/0! | 0
Nitrogen (Total) | mg/L | Every 6 months | Representative | REMOVED | REMOVED | 0 | #DIV/0! | 0
Phosphorus (Total) | mg/L | Every 6 months | Representative | REMOVED | REMOVED | 0 | #DIV/0! | 0
Total Dissolved Solids | mg/L | Every 6 months | Representative | REMOVED | REMOVED | 0 | #DIV/0! | 0
Total Suspended Solids | mg/L | Every 6 months | Representative | REMOVED | REMOVED | 0 | #DIV/0! | 0
| Date Publishing Date: | 2019-04-30 |  | Back to Index

## EPA 5
EPA Licence L11561 - EPA Monitoring Point 5 | [13 empty] | Data Period / Year: | 2019/20
|  |  | Date Sampled | 2019-05-09 | 2019-06-06 | 2019-07-19 | 2019-08-15 | 2019-09-12 | 2019-10-30 | 2019-11-06 | 2019-12-01 | 2020-01-22 | 2020-02-12 | 2020-03-10 | 2020-04-15
Time Sampled | bar: 2019-05-09 to 2020-04-15
|  |  | Sampled By | doc | doc | doc | doc | doc | doc | doc | doc | doc | doc | doc | doc | EPA ANNUAL RETURN ONLY
|  |  | Sample Number | [12 empty] | (Not published to Web) | bar: 2019-06-06 to 2019-10-30; 2019-12-01 to 2020-04-15
Pollutant | Units | Sampling frequency required by the Licence | Type / Method of Sampling |  | June | July | August | September | October | November | December | January | February | March | April | MIN | AVERAGE | MAX
Conductivity | µS/cm | Every 6 months | Representative | dry | November: dry | 0 | #DIV/0! | 0
Nitrate | mg/L | Every 6 months | Representative | dry | November: dry | 0 | #DIV/0! | 0
Standing Water Level | Metres | Monthly | Not specified | dry | dry | dry | dry | dry |  | dry | dry | dry | dry | dry | dry | 0 | #DIV/0! | 0
pH | pH units | Every 6 months | Representative | dry | November: dry | 0 | #DIV/0! | 0
|  | Data Publishing Date: | 2019-10-17 |  | June: Back to Index

## EPA 6
EPA Licence L11561 - EPA Monitoring Point 6 | [13 empty] | Data Period / Year: | 2019/20
|  |  | Date Sampled | 2019-05-09 | 2019-06-06 | 2019-08-15 | 2019-08-15 | 2019-09-12 | 2019-10-30 | 2019-11-06 | 2019-12-04 | 2020-01-22 | 2020-02-12 | 2020-03-10 | 2020-04-15
|  |  | Time Sampled | am | am | am | am | am | am | am | am | am | am | am | am
|  |  | Sampled By | doc | doc | doc | doc | doc | doc | doc | doc | doc | doc | doc | doc | EPA ANNUAL RETURN ONLY
|  |  | Sample Number | [12 empty] | (Not published to Web)
Pollutant | Units | Sampling frequency required by the Licence | Type / Method of Sampling | May | June | July | August | September | October | November | December | January | February | March | April | MIN | AVERAGE | MAX
Conductivity | µS/cm | Every 6 months | Representative | May: dry; November: dry | 0 | #DIV/0! | 0
Nitrate | mg/L | Every 6 months | Representative | May: dry; November: dry | 0 | #DIV/0! | 0
Standing Water Level | Metres | Monthly | Not specified | dry | dry | dry | dry | dry | dry | dry | dry | dry | dry | dry | dry | 0 | #DIV/0! | 0
pH | pH units | Every 6 months | Representative | May: dry; November: dry | 0 | #DIV/0! | 0
|  | Data Publishing Date: | 2019-04-30 | June: Back to Index

## EPA 7
EPA Licence L11561 - EPA Monitoring Point 7 | [13 empty] | Data Period / Year: | 2019/20
|  |  | Date Sampled | 2019-05-09 | 2019-06-06 | 2019-07-19 | 2019-08-15 | 2019-09-12 | 2019-10-30 | 2019-11-06 | 2019-12-04 | 2020-01-22 | 2020-02-12 | 2020-03-10 | 2020-04-15
Time Sampled | bar: 2019-05-09 to 2020-04-15
|  |  | Sampled By | doc | doc | doc | doc | doc | doc | doc | doc | doc | doc | doc | doc | EPA ANNUAL RETURN ONLY
|  |  | Sample Number | [12 empty] | (Not published to Web)
Pollutant | Units | Sampling frequency required by the Licence | Type / Method of Sampling | May | June | July | August | September | October | November | December | January | February | March | April | MIN | AVERAGE | MAX
Conductivity | µS/cm | Every 6 months | Representative | May: dry; November: dry | 0 | #DIV/0! | 0
Nitrate | mg/L | Every 6 months | Representative | May: dry; November: dry | 0 | #DIV/0! | 0
Standing Water Level | Metres | Monthly | Not specified | dry | dry | dry | dry | dry | dry | dry | dry | dry | dry | dry | dry | 0 | #DIV/0! | 0
pH | pH units | Every 6 months | Representative | May: dry; November: dry | 0 | #DIV/0! | 7.9
|  | Data Publishing Date: | 2019-04-30 | June: Back to Index

## DISCHARGES
EPA Licence L11561 - DISCHARGES FROM EPA POINTS 1-4 |  |  | Data Period / Year: | 2019/20
MONITOR POINT | EPA 1 | EPA 2 | EPA 3 | EPA 4
Units | l | kl | kl | kl
Sampling frequency required by the Licence | Continuous during discharge | Weekly | Weekly | Continuous during discharge
Type / Method of Sampling | Flow meter & continuous logger | Inspection | Inspection | Not Specified
Dates Sampled / Discharges occurred
2019-05-06 | 2860028.4n | 144532 | 73658 | re zoned
2019-05-13 | 2861161.3n | 144532 | 73762
2019-05-20 | 2862382.1n | 144532 | 73896
2019-05-27 | 2863598.3n | 144532 | 73980
2019-06-03 | 2864690.0n | 144532 | 73980
2019-06-10 | 2865999.1n | 144532 | 74098
2019-06-17 | 2866999.1n | 144532 | 74245
2019-06-24 | 286795704n | 144532 | 74329
2019-07-01 | 2869210.6n | 144532 | 74379
2019-07-08 | 2870299.1n | 144532 | 74466
2019-07-15 | 2871400.7n | 144532 | 74521
2019-07-22 | 2872482.7n | 144659 | 74665
2019-07-29 | 2873566.5n | 144659 | 74745
2019-08-05 | 2874656.1n | 144659 | 74816
2019-08-12 | 2875661.1n | 144659 | 74903
2019-08-19 | 2876772.5n | 144659 | 74982
2019-08-26 | 2877681.7n | 144659 | 75071
2019-09-02 | 2878713.3n | 144659 | 75197 | 5/9 77064
2019-09-09 | 2879678.8n | 144659 | 62 | new 5/9 00009
2019-09-16 | 2880477.1n | 144659 | 165
2019-09-23 | 2881619.9n | 144659 | 270
2019-09-30 | 2882422.3n | 144659 | 375
2019-10-07 | 2883500.0n | 144659 | 468
2019-10-14 | 2884443.5n | 144659 | 511
2019-10-21 | 2885375.3n | 144659 | 598
2019-10-28 | 2886311.3n | 144659 | 681
2019-11-04 | 2887256.6n | 144860 | 734
2019-11-11 | 2888207.8n | 144860 | 792
2019-11-18 | 2889140.7n | 144860 | 865
2019-11-25 | 2890096.8n | 144860 | 953
2019-12-02 | 2891057.5n | 144860 | 1134
2019-12-09 | 2891867.2n | 144860 | 1215
2019-12-16 | 2893452.3n | 144860 | 1289
2019-12-23 | 2894677.2n | 144860 | 1358
2019-12-30 | 2895150.8n | 144860 | 1402
2020-01-06 | 2895747.8n | 144860 | 1465
2020-01-13 | 2896792.5n | 144860 | 1543
2020-01-20 | 2897637.2n | 144942 | 1599
2020-01-27 | 2898776.2n | 144942 | 1632
2020-02-03 | 2899636.4n | 144942 | 1677
2020-02-10 | 2900856.5n | 144942 | 1770
2020-02-17 | 2912124.5n | 146439 | 1825
2020-02-24 | 3004647.6 | 147140 | 1874
2020-03-02 | 3005781.1n | 147140 | 1957
2020-03-09 | 3031474.4 | 147595 | 2048
2020-03-16 | 3036774.9n | 147595 | 2068
2020-03-23 | 3037869.9n | 147595 | 2186
2020-03-30 | 3106942.4 | 148542 | 2307
2020-04-06 | 3207657.4 | 148542 | 2394
2020-04-13 | 3273035.5 | 148824 | 2503
2020-04-20 | 3275397.5 | 148824 | 2585
2020-04-27 | 3276749.3 | 149952 | 2676
2020-05-04
2020-05-11 | 2019-04-30 |  |  | Back to Index
2018-04-30 | 2858937.5n | 143991 | 73526
Formulas:
MONITOR POINT = [MONITOR POINT, row above]+7

## Corrections Log
EPA Licence L11561 - Published Monitoring Data Corrections Log
Licence Monitoring Point | Sample Date | Pollutant | Original Data | Corrected Data | Date Corrected | Date Originally Published | Reason
| Data Publishing Date: |  |  | Back to Index

## Compatibility Report
Compatibility Report for GSC - Saleyards - L11561 - MONITORING DATA - PUBLISHING FORMAT - FINAL V2.xls
Run on 24/04/2013 12:55
The following features in this workbook are not supported by earlier versions of Excel. These features may be lost or degraded when you save this workbook in an earlier file format.
Significant loss of functionality | # of occurrences
This object will no longer be editable. | 1
'Header'!B1:Q36